## Slide 1: The NPDGamma Experiment – a new era in Hadronic Parity Violation
Christopher Crawford, University of Kentucky
15th International Workshop on Meson Physics
KRAKÓW, POLAND, 2018-06-11

## Slide 2: Outline
Madison
Spencer
Low energy neutron physics and Hadronic Parity Violation
  Meson exchange and Effective Field Theory formalisms
NPDGamma Experiment
  FnPB, target, detector
  Data analysis, interpretation
Future directions
  new HPV, TRIV experiments
Is a parity odd pseudoscalar!
Notes: Before we get started, let me introduce you to our parity doublet, Spencer and Madison, who were born just before I joined the NDPGamma experiment in Los Alamos 10 years ago. And they want you all to know is that this spin-momentum correlation in the n+p to d+gamma reaction is parity odd, and therefore is exclusively sensitive to weak contributions to the NN potential.

## Slide 3: Hadronic Weak Interaction in a nutshell
Hadronic
Nuclear
EW
<nuclear structure>
<QCD structure>
Many Body Nuclear PV
Few-body PV
Standard Model
Meson Exchange
Potential
Notes: The other experiment I will report on today, n + 3He to p + t , is similar except the correlation is with a proton instead of photon.
Under the hood, PV is attributed to a weak vertex in the NN potential, which is characterized by its spin and isospin structure.
At the quark level, the SM physics is well understood, so this is one of the only talks here NOT concerning BSM.
Instead the HWI lies at the intersection between nuclear and nucleonic structure, and is a unique probe of each.
Our experimental program is to measure enough independent observables to characterize the spin/isospin structure of the HWI.

## Slide 4: DDH Meson-exchange potential
isospin
range
Desplanques, Donoghue, Holstein,
Annals of Physics 124, 449 (1980)
Wasem, Phys. Rev. C 85 (2012) 022501
1st Lattice QCD result of fπ !!
N
N
N
N
Meson
exchange
STRONG
(PC)
WEAK
(PV)
PV meson exchange
Notes: Here is a list of the various isospin, spin and spatial operators associated with the different couplings
in the de facto DDH meson exchange potential, with their reasonable ranges.
The ratio of weak to strong scales is about 10^-7, which is level of asymmetries we must observe to extract values of these couplings.

## Slide 5: Danilov parameters / EFT
Elastic NN scattering at low energy (<40 MeV) S-P transition (PV)
Sz=±1/2 I3=±1/2 Antisymmetric in L, S, I
Conservation of J
Equivalent to pion-less Effective Field Theory (EFT) in the low energy limit
C.-P. Liu, P.R.C. 75, 065501 (2007)
Haxton & Holstein, P.P.N.P. 7, 1851 (2013)
Notes: Now days people use the EFT framework to characterize the HWI in a systematic model-independent way,
but as Haxton and Holstein showed, the low energy coupling constants are quite related.
In fact, they published a “Rosetta stone” to relate both theories back to the 5 basic S-P elastic scattering amplitudes.

## Slide 6: DDH Extraction
 | np A | nD A | n3He Ap | np  | n  | pp Az | p Az
fp | -0.11 | 0.92 | -0.18 | -3.12 | -0.97 |  | -0.34
hr0 |  | -0.50 | -0.14 | -0. 23 | -0.32 | 0.08 | 0.14
hr1 | -0.001 | 0.10 | 0.027 |  | 0.11 | 0.08 | 0.05
hr2 |  | 0.05 | 0.0012 | -0.25 |  | 0.03 | 
h0 |  | -0.16 | -0.13 | -0. 23 | -0.22 | -0.07 | 0.06
h1 | 0.003 | -0.002 | 0.05 |  | 0.22 | 0.07 | 0.06
Viviani (PISA), [n-3He] P.R.C. 82, 044001 (2010)
Adelberger, Haxton, A.R.N.P.S. 35, 501 (1985)
Haxton & Holstein, PPNP 7, 1851 (2013)
PV observables are LINEAR in weak couplings
Spin asymmetry in gamma transitions: np, nd
Circular polarization of gamma transitions: np, nd
Spin asymmetry in charge exchange: n3He
Neutron spin rotation in nuclear medium: np, nd, n
Analyzing power in elastic scattering: pp, pd, p
LQCD
Notes: With linear sensitivities of the observables to the couplings, you can create a sensitivity matrix, which you can invert to obtain each coupling with uncertainties.
Our goal with the NPDGamma and n-3He experiments is improve the precision of the four largest couplings, while dropping the dependence on few-body observables.

## Slide 7: Large Nc expansion
Only two leading order amplitudes
Others suppressed by Nc2
New paradigm for experiments
  NPDG will test the smallness of
  n3He an orthogonal constraint on , .
Schindler, Springer, Vanasse,
PRC 93, 025502 (2016)
Phillips, Samart, Schat,
PRL 114, 062301 (2015)
Gardner, Haxton, Holstein, ARNPS 67, 69 (2017)
pp (220 MeV)
pp (15, 45MeV)
p
19F
Notes: With linear sensitivities of the observables to the couplings, you can create a sensitivity matrix, which you can invert to obtain each coupling with uncertainties.
Our goal with the NPDGamma and n-3He experiments is improve the precision of the four largest couplings, while dropping the dependence on few-body observables.

## Slide 8: NPDGamma Collaboration
R. Alarcon1, R. Allen4, L.P. Alonzi3, E. Askanazi3, S. Baeßler3, S. Balascuta1, L. Barron-Palos2, A. Barzilov25, D. Blythe1,
J.D. Bowman4, M. Bychkov3, J. Calarco9 ,R. Carlini5, W. Chen6, T. Chupp7, C. Crawford8, K. Craycraft8, M. Dabaghyan9, A. Danagoulian10, D. Evans3, J. Favela2, N. Fomin12, W. Fox11, S. Freedman13, E. Frlez3, J. Fry11, C. Fu11, C. Garcia2, T. Gentile6, M. Gericke14, C. Gillis11, K Grammer12, G. Greene4,12, J Hamblen26, C. Hayes12, F. Hersman9, T. Ino15,
E. Iverson4, G. Jones16, K. Latiful8, S. Kucuker12, B. Lauss17, W. Lee18, M. Leuschner11, W. Losowski11, R. Mahurin12,
M. Maldonado-Velazquez2, Y. Masuda15, M. McCrea14, J. Mei11, G.S. Mitchell19, P. Mueler4, S. Muto15, H. Nann11,
M. Musgrage12, H. Nann11, I. Novikov25, S. Page14, D. Parsons26, S. Penttila4, D. Počinic3, D. Ramsay14,20, A. Salas-Bacci3, S. Santra21, S. Schroeder3, P.-N. Seo22, E. Sharapov23, M. Sharma7, T. Smith24, W. Snow11, J. Stuart26, E. Tang8, Z. Tang11, J. Thomison18, T. Tong18, J. Vanderwerp11, S. Waldecker26, W. Wilburn10, V. Yuan10
1Arizona State University
2Universidad Nacional Autonoma de Mexico
3University of Virginia
4Oak Ridge National Laboratory
5Thomas Jefferson National Laboratory
6National Institute of Standards and Technology
7Univeristy of Michigan, Ann Arbor
8University of Kentucky
9University of New Hampshire
10Los Alamos National Laboratory
11Indiana University
12University of Tennessee, Knoxville
13University of California at Berkeley
14University of Manitoba, Canada
21Bhabha Atomic Research Center, India
22Duke University
23Joint Institute of Nuclear Research, Dubna, Russia
24University of Dayton
25Western Kentucky University
26University of Tennessee at Chattanooga
15High Energy Accelerator Research Organization (KEK), Japan
16Hamilton College
17Paul Scherer Institute, Switzerland
18Spallation Neutron Source, ORNL
19University of California at Davis
20TRIUMF, Canada
http://npdgamma.com
This work was supported in part by:
DOE and NSF (USA)
NSERC (Canada)
CONACYT (Mexico)
BARC (India)
Notes: Before I talk about the NPDGamma experiment, I would like to recognize the collaborators from Canada, US, Mexico, Germany, Russia, and Japan.
As a reminder, we need to capture a polarized neutron beam on hydrogen, and measure the direction of outgoing gammas.

## Slide 9: Experimental Layout
Supermirror Polarizer
Gamma Detectors
LH2 Target
RF Spin Rotator
Beam Monitors

## Slide 10: Spallation neutron source, ORNL
Notes: 226 us RMS width moderated pulse
18 m, TOF=11-27 ms, v = 1700-650 ms/s
E=15 – 2.3 meV

## Slide 11: Neutron Flux at the SNS FnPB
SNS TOF window
15 meV LH2 threshold
Flux = 6.5x1010 n/s/MW
2.5 Å < λ < 6.0 Å

## Slide 12: FnPB supermirror polarizer
T=25.8% transmission
P=95.3% polarization
N=2.21010 n/s output flux (chopped)
simulations using
McStas / ROOT ntuple
S. Balascuta et al., Nucl. Instr. Meth. A671 137 (2012)

## Slide 13: Resonant RF spin rotator
Resonant RF spin rotator,
  1/t RF amplitude tuned to velocity of neutrons
  Affects spin only–NOT velocity (no static gradient)
essential to reduce instrumental systematics
  danger: must isolate spin state from the detector
  false asymmetries: additive & multiplicave
P. Neo-Seo, et al. Phys. Rev. ST Accel. Beams 11 084701 (2008)
holding field
sn
BRF
Larmor precession + Rabi oscillation

## Slide 14: 16L liquid para-hydrogen target
15 meV
ortho
para
capture
En (meV)
 (b)
30 cm long  1 interaction length
99.97% para  1% depolarization
Improvements: pressure-stamped vessel thinner windows
p
p
para-H2
p
p
ortho-H2
E = 15 meV

## Slide 15: n-Scattering from Ortho-Hydrogen

## Slide 16: CsI(Tl) Detector Array
4 rings of 12 detectors each
  15 x 15 x 15 cm3 each
VPD’s insensitive to B field
detection efficiency: 95%
current-mode operation
  5 x 107 gammas/pulse
  counting statistics limited

## Slide 17: Experimental Layout

## Slide 18: Analysis of the Physics Asymmetry
neutron
polarization
fraction
of yield
geometry
factors
physics
asymmetry
detector pair
asymmetry
0
11
5
6
4
7
10
9
8
3
2
1

## Slide 19: Systematic Uncertainties
<1%
2.6%

## Slide 20: Chlorine PV asymmetry
Data set
  To verify sensitivity & geometry factors
  40 hr. over 4 run periods
Corrections
  Background Subtraction
  Beam Polarization / Depolarization
  RFSF Efficiency
Prev. Measurement | Asymmetry (x10-6)
LANL | -29.1 ± 6.7
Leningrad | -27.8 ± 4.9
ILL | -21.2 ± 1.72

## Slide 21: Aluminum Background Asymmetry
Dominant systematic effect
15–25% background at SNS
Extracted from = 27 min decay amp.
Discovered additional = 3 hr. amplitude! 1% Mn contamination (unknown asymmetry) Confirmed by neutron activation analysis at NIST
To reduce systematic errors due to Mn asymmetry we cut up all pieces of the cryostat seen by neutrons: SF window, cryostat windows, LH2 vessel entry dome & walls
Al asymmetry data retaken in June 2016

## Slide 22: Hydrogen Data
minimal cuts: 1% beam stability for several pulses
three independent analyses: in excellent agreement
Detector 0
Detector 12
Final Result:
detector pair number

## Slide 23: Interpretation of Results
DDH
Low energy amplitudes
NPDGamma
LQCD
18F
NPDGamma
projected
NPDGamma
Gardner, Haxton, Holstein, ARNPS 67, 69 (2017)
Haxton & Holstein, PPNP 7, 1851 (2013)

## Slide 24: Beyond HWI: HPV vs. EDM
Tree level diagrams
Bowman, Gudkov, PRC 90, 065503 (2014)

## Slide 25: Beyond HWI: Time Reversal Invariance
T-odd neutron forward transmission through polarized nuclei
  Amplification factors of 105–106 in heavy nuclei: 139La and 81Br
  Complementary with searches for EDMs
  Alignment errors cancel by rotating both target, analyzer
Investigative beam time awarded at LANSCE
  To investigate TOF resolution, re-measure PV amplitude in 139La, 131Xe

## Slide 26: Conclusion
Hadronic Parity Violation
  After 60 years of HPV, we are very close to a full complement of few-body HPV observables
  Using pp (45MeV), pp (220 MeV), NPDGamma, n-3He, NSR-III, we can test the self-consistency of HWI formalisms
NPDGamma Experiment
  Sensitive to long-range h1π
On the horizon …
  n-3He experiment: δA=1.0x10-8
  Neutron spin rotation in 4He
  NDTGamma / NPDG circular pol.
  Time-reversal invariance violation
Thank you!